## Slide 1
White-Rodgers and Sensi Overview
January 2024

## Slide 2
Table of Contents
White-Rodgers / Sensi Overview
 | Overview
1 | Universal Controls
1 | Heating Controls
1 | Cooling Controls
1 | Thermostats
1 | Additional Support

## Slide 3
Combining our team’s world-class talent and Blackstone’s expertise, Copeland will advance it’s leadership positions through focused investment aligned with attractive market opportunities for sustainable growth.
Through our differentiated technology, manufacturing capabilities and customer focus, Copeland will build on its leading position across markets as a focused, standalone company.
Copeland is a new global organization that continues to:
Build on its legacy
Create innovative and sustainable solutions for customers
Steward positive change
Focus as a Standalone Company
This change will improve the business’ agility and ability to create new value with our customers and provide employees an improved path for personal and professional development.
Build on a Strong Foundation to Drive Value
Accelerate
Profitable Growth
Create New
Opportunities
Copeland: The Opportunity Ahead
Copeland is a new standalone company serving the global HVACR market, enhancing opportunities to support our customers as a focused company.

## Slide 4
Compression Technologies
Energy Management & Monitoring Solutions
Controls & Monitoring
HVACR Technologies
We provide sustainable HVACR solutions and software to meet our customers’ unique needs
Cold Chain
Comfort Control
Our Portfolio Of Products
OUR BRANDS
OUR PRODUCTS
INDUSTRIES SERVED
Residential, Commercial, Industrial, Transport, Refrigeration & Heating
Residential, Commercial, Hospitality and Multi-Dwelling Units
Food Retail, Food Service, Cargo, Marine and Healthcare
MARKETS
SERVED
Heating & Air Conditioning Technology, RNG & Carbon Capture
Heating & Air Conditioning Technology, Smart Thermostats, Energy & Facility Management Solutions
Cold Chain Software & Technology
Industrial Soltuions
OUR CUSTOMERS
Carrier Global Corporation, Lennox, Trane Technologies, United Refrigeration
Daikin, Hilton Hotels, Marriott International, Rheem
Amazon, Heatcraft Refrigeration Products, Hussmann, Walmart

## Slide 5
Americas
Employees. ~12,000
Mfg. Sites 17
R&D Sites 4
Copeland: One Global Business
Europe
Employees ~1,500
Mfg. Sites 5
R&D Sites 5
AMEA
Employees ~4,500
Mfg. Sites 5
R&D Sites 3

## Slide 6
A Name Contractors Trust
OVER 100 YEARS of HVAC experience
MAJORITY OF RESIDENTIAL HVAC SYSTEMS feature Copeland parts
ONE IN FIVE HOMES in the U.S. has a Sensi or White-Rodgers thermostat
LARGEST MANUFACTURER of gas valves in North America

## Slide 7
Offering a Strong Portfolio of HVAC Products
25M Gas Valve
NGA Control
WATER HEATER
CLOTHES DRYER
Smart Thermostats
Traditional Thermostats
Integrated
Furnace Control
Gas Valve
SureSwitch Contactor
Heat Pump Defrost Control
TXV Thermal Expansion Valves
AIR CONDITIONER
HEAT PUMP
FURNACE
THERMOSTAT
Ignitors & Flame Sensors
Filter Driers

## Slide 8: Universal Controls
Cover more applications with fewer controls

## Slide 9
Parts designed for multiple OEM applications
Footprint
Mounting
Wiring
Setup
Meet All of Your Customers Needs
Increase productivity & profitability
Reduce truck stock
Cover more applications with fewer controls
Eliminate extra trips
Serve more customers

## Slide 10
Ignitors & Flame Sensors
Integrated Furnace Controls
Ignition Modules
Electronic Fan Timer
Gas Valves
Touch screen
Wi-Fi compatible
Programmable/non-programmable
Various price points
Contactors
Filter Driers
Thermostatics Expansion Valves
Defrost Control
Temperature Control
Heating
Replace thousands of part numbers
Cooling / Heat Pumps
Replace most applications regardless of manufacturer
Thermostats
Replace most low voltage models
Universal Control Overview
Have the right part at the right time

## Slide 11
Over Twice As Many Cross References As Resideo
WHITE-RODGERS |  |  | RESIDEO / HONEYWELL |  | 
MODEL NUMBER | DESCRIPTION | X-REFS | PART NUMBER | DESCRIPTION | X-REFS
50M56X-843 | 1-Stage IFC PSC/ECMx 80V/120V | 550+ | S9200U 1000 | IFC PSC 120V | 204
50E47U-843 | Hot Surface Ignition Module | 325+ | S8910U 3000 | Hot Surface Ignition Module | 107
21M51U-843 | 2-stage IFC PSC 80V/120V | 92 | — | — | —
21V51U-843 | 2-stage IFC Variable Speed 80V/120V | 59 | — | — | —
50D50U-843 | All-Spark™ IP/DSI Module | 1020 | S8610U 3009 | IP Module | 457
50I56D-905 | Intelligent Valve Retrofit Kit | 53 | SV9501 M2528 & SV9502 H2522 | SmartValve™ | 18
50F06-843 | Electronic Fan Timer | 162 | ST9120U 1011 | Electronic Fan Timer | 49
21D64-44 | HotRod™ EX Ignitor | 278 | Q3200U 1004 | Glowfly Ignitor | 114
790-843A1 | Flame Sensor | 159 | — | — | —
47D01U-843 | Defrost Control | 438 | DB7110U 1000 | Defrost Control | 264
49M11-843 | SureSwitch™ Multivolt Contactor | 362 | — | — | —
— | — | — | Y8610U 6006 | Standing Pilot Retrofit | —
— | — | — | R7284U 1004 | Oil Primary | 70
WHITE-RODGERS
TOTAL: 3,498+
CROSS REFERENCES
HONEYWELL/RESIDIO
TOTAL: 1,283+
CROSS REFERENCES

## Slide 12: White-Rodgers Heating Controls
Trusted by more OEMs

## Slide 13
Category
Heating Controls
Products
Integrated Furnace Controls
Integrated Commercial TRU & Package Unit Ignition
Non-Integrated Ignition Modules
Non-Integrated Commercial RTU & Package Unit Ignition
36C Series
36G/J Series
36 H Series
Gas Pilot Safety, Fireplace Valves
Universal Nitride Upgrade Ignitor Kits
120v Hot Surface Ignitors
80v Hot Surface Ignitors
Ignition Controls & Modules
Gas Valves
Hot Surface Ignitors
Flame Sensors
Fan & Limit Controls
Universal Flame Sensors
Direct Replacement Flame Sensors
Electronic Fan Timer
Plenum Mount Fan & Limit Controls
Fan Coil

## Slide 14
Category
Heating Controls (continued)
Products
Standing Pilot Thermocouples
Standing Pilot Generators
Standing Pilot Generators & Pilot Burners
AC or Heat Pump Controls
Heat Pump Defrost Controls
Air Handler Controls
Electric Heat Sequencers
Electric Heat Level – Temp Controls
Standing Pilot Thermocouples & Generators
Outdoor Condenser, Heat Pump & Air Handler Controls
Electric Heat Sequencers & Level-Temperature Controls
Hydronic Zone Valves & Temperature Controls
Water Heater Controls
Hydronic Zone Valves
Hydronic Temperature Controls
Hydroniz Zone Valve Change – Over Switches
Gas Water Heater Controls
Electric Water Heater Controls
Electric Water Heater Thermostats & Limits
Relays & Transformers
Relays
Transformers

## Slide 15
Maximum cross references
Simple installation
Training & installation videos
Easy access to cross reference & product information with White-Rodgers Mobile
Match OEM mounting & wiring for drop in replacement
Designed with features to maximize applications
Universal controls designed to replace thousands of part numbers
Direct OEM
replacements
Offering the Widest Range of Universal & Direct OEM Replacement Furnace Controls

## Slide 16
Quick configuration without power, prior to install
Configure using preloaded OEM settings or customize module configurations
Diagnose fault codes & troubleshoot confidently
View status & details about the control
No-Wi-Fi or login required
Near-field communication (NFC) allows your mobile device to communicate with a compatible White-Rodgers control.
White-Rodgers Connect App Speeds Up Installs
For more info visit Copeland.com/WRConnect
Configure, Diagnose, Troubleshoot from your smartphone

## Slide 17
Replaces over 550 part numbers ​​for both PSC & ECMx blower motors
Direct plug-in of OEM harnesses, no additional harnesses required​​
120v HotRod Ignitor included for upgrading 80v applications
Digital display provides alternate method to configure & diagnose
Detachable thermostat bus connector for easy wiring
Flame current readout on digital display or use of test pins​​
Universal Single Stage Furnace Control 50M56x-843
Integrated Furnace Control
Simple configuration and diagnostics with White-Rodgers Connect

## Slide 18
Replaces over 325 HSI part numbers that us 24V, 120V or 240V ignitors
Controls an inducer motor and monitors a pressure switch
Universal Hot Surface Ignition Module 50E47U-843
Universal Non- Integrated Ignition Modules
Replaces over 1,000 part numbers for intermittent pilot & direct spark ignition
Rajah & spade spark terminals on-board eliminate the need for an external adapter
All-Spark Ignition Module 50D50U-843
Transfer control wiring before removing the existing control with the easy-install harness
Applications include pool heaters, water heaters, unit heaters, gas furnaces, boilers, cooking equipment, laundry equipment, infrared heaters
Digital display provides alternate method to configure, diagnose and check real-time operation status & flame current(50E47U-843 only)
Use F67-8535 to maintain temperature without an external thermostat for infrared & tube heaters
Ignition Module Features
Simple configuration and diagnostics with WR Connect

## Slide 19
Easy installation
  Quick connect spade terminals
  LP conversion kit (most models)
  Reducer bushing kit (most models)
Largest Manufacturer of gas values in North America
Our Gas Valves Are Trusted by More OEMs
36G/J Series - Replaces 95% of residential furnaces made in the last 18 years
36H Series - Designed for commercial HSI/DSI/IP systems

## Slide 20
Replaces over 270 part numbers ​
Includes mounting brackets & ceramic wire nuts
Upgrade from silicon carbide for longer life & fewer callbacks
5-year limited warranty
Available in a 5-pack
Bend and or cut to replace over 150 part numbers ​
Protective sleeve included with detailed bend instructions
High temperature rod withstands 2,200oF
30” lead wire with ¼” & 3/16” quick connects
3-year limited warranty
Available in a 5-pack
Universal HotRod Ignitors 21D64-2, 21D64-44
Universal Flame Sensor 790-843A1
Universal Ignitors & Flame Sensors
Direct OEM drop-in replacements also available

## Slide 21: Cooling Controls
Reliable system protection and control for residential, commercial & refrigeration applications

## Slide 22
A glimpse of how White-Rodgers products fit into the refrigeration cycle
Offering a Broad Portfolio of Air Conditioning and Refrigeration Products

## Slide 23
SureSwitchTM Multi-Volt Contactor 49M11-843
Universal Air Conditioning & Heat Pump Products
Replaces most single-phase contactors
Services air conditioning and refrigeration applications for 24/120/208/240V coils
5X the life of traditional contactors, 1M+ cycles
Totally sealed switch keeps out ants, pests and debris
5-year limited warranty
Universal Heat Pump Defrost Control 47D01U-843
Replaces over 400 part numbers
Selectable demand or timed defrost modes for greater efficiency
Integrated thermostat provides energy and cost savings
Brownout and short cycle protection
1-year limited warranty

## Slide 24
Filter Driers to Fit Any Application – Liquid Line
Hermetic Filter Driers – Liquid Line
Take-Apart Filter Driers - Shells
EK Series (premium) & BSL Series (Economical)
20-micron filtration
Compacted bead construction
CU Series Spun Copper
All copper construction for extreme corrosion resistance
100% molecular sieve solid core drier
Bi-Directional Heat Pump
BFK Series (premium) &
BSB Series (Economical)
40-micron filtration
Solid core construction
STAS Series
Steel Shell and internals for liquid or suction line
Uses 48 cubic inch cores
ADKS Series
Steel Shell and plastic internals for liquid or suction line
Uses 100 cubic inch cores
BTAS Series
Brass Shell for corrosion resistance in suction line
Uses filter or filter-drier cartridges
Cores
H48 & UK48 (premium)
  For STAS and competitive models
H100 & UK 100 (premium)
  For ADKS and competitive models
A*F & A*F-D
  For BTAS and competitive models

## Slide 25
Filter Driers to Fit Any Application – Suction Line
Suction Line Filter Driers
Usually installed in the field after a compressor failure or for systems with higher contamination levels
They have a larger diameter shell to reduce pressure drop & can incorporate a shorter lay-in length
Compacted Bead
ASD series
Premium suction line filter drier
Optimized for high moisture and acid protection
Compacted Bead
SFD series
Standard Suction Line Filter Drier
Smaller lay in length, available in a variety of sizes
Compacted Bead
CSFD series
Good for moisture & acid removal
Small layin or ‘pancake’ design, available only in 14 cubic inch sizes
Compacted Bead
ASK Series
Activated carbon blend for moisture, acid and wax removal
Available in 16 and 30 cubic inch sizes

## Slide 26
Moisture Indicators/Sight Glasses
HMI Series
Hermetic, leak-free construction
Senses to 3% relative humidity
Large viewing lens, ease of monitoring
Solid copper connections, all brass body
AMI Series
Take-apart, replaceable lens assembly
Senses to 3% relative humidity
Large viewing lens, ease of monitoring
Solid copper connections, all brass body
A-IHL Series
Take-apart, replaceable lens assembly
Senses to 3% relative humidity
Saddle design for large diameter tubing
Solid copper connections, all brass body

## Slide 27
Expansion Valves for Residential, Commercial & Refrigeration
Univeresal TXV Connect Kits for residential AC & Head Pumps
ODF TXV with internal check, Chatleff & Aeroquip adapters, external equalizer connection and bulb strap
Universal kits that fit residential systems regardless of manufacturer
R-410A & R-22 kits in multiple capacities
Emerson Valve Series | Field Serviceable | Tonnage (R-404A) | Tonnage (R-410A)
A | No | 1/8 to 3 | 1 to 5
NXT | No | n/a | ½ to 15
HF | Yes | 1/8 to 10 | n/a
TRAE | Yes | 14 to 35 | n/a
TX7 | No | n/a | 20 to 50

## Slide 28
Electronic Expansion Valves
EX Valves are multi-functional
  Expansion Device
  Defrost Control
  Head Pressure Control
  Suction Gas Throttling
Linear with precise flow control
Short opening/closing time
Patented ceramic slide and orifice
EXD-SH1, EXD-SH2 Controllers and kits
Designed for precise superheadt control or temperature control for EX valves
EXD-SH1K and EXD-SH2K Kits contain all necessary components to operate
Other function include low pressure switch and freeze protection
PM Series are Pulse Width Modulating Expansion Valves
Gate-type, direct acting with six fixed-capacity sizes
Positive shut-off function eliminates need for solenoid valve
Typical applications include:
  Display cases
  Frozen beverage dispensers

## Slide 29
Refrigeration Temperature Controls for Electronic or Hydraulic Applications
16E09-101
Electronic
Refrigeration or Heating
1609-101
Electro-Mechanical
Refrigeration
Application
Convenience store
Supermarket display case
Pump control
Freezer control
Boiler control
Walk-in cooler
Space and return-air temperature
Reach-in cooler
Condenser fan cycling

## Slide 30
Refrigeration Solenoid Valves & Coils
Emerson Valve Series | Field Serviceable | Tonnage (R-404A) | Tonnage (R-410A)
A | No | 1/8 to 3 | 1 to 5
NXT | No | n/a | ½ to 15
HF | Yes | 1/8 to 10 | n/a
TRAE | Yes | 14 to 35 | n/a
TX7 | No | n/a | 20 to 50
AM Series coils fit all valve series and sizes
Snap-on coil design for easy installation
Valves with extended copper ends for easy installation
200RB with Coil
250RA with Coil
 | OPERATION |  | TWO TYPES |  |  |  | 
Valve Series | Normally Closed | Normally Open | Direct Acting | Pilot Operated | Design | Optional Mounting Stud or Manual Stem | MWP (PSIG)
100RB | x |  | x |  | Piston |  | 500
200RB | x |  |  | x | Piston | x | 680
250RA | x |  |  | x | Diaphragm | x | 680
500RB |  | x |  | x | Piston |  | 680
540RA |  | x |  | x | Diaphragm | x | 500

## Slide 31
Shut-off Valves
BVSS Series
Brass locking seal caps
All are fully ported
Standard lay-in length
Hermetic, forged brass body
Up to 3-1/8” line and port sizes
Ball Valves
Valve Stem cap retained by strap
Fully ported through 2” size
Mounting holes
Hermetic, forged Brass Body
Approved for CO2 and Propane
BE & BVS Series
Hermetic Spun-copper design
Magnetic check action
Built-in 30 mesh strainer
Can be installed in any position
Connections from ¼” through 2-5/8”
ACK Check Valves

## Slide 32
Other Vessels
A-F, A-W, A-WZ Series
Hermetic or bolted flange models
Supermarket racks and commercial a/c
Oil Separators
Separates the oil from the refrigerant
A-Fc & A-WC Series
Hermetic or bolted flange models
Centrifugal for ultra-low temps
A-AS Series
3 thru 6 inch diameter models
6 thru 6 inch diameter models
½ “ to 1-5/8” connections
Hold up to 25 tons of R-404A
Suction Line Accumulators
Prevents liquid refrigerant from slugging the compressor
Oil Reservoirs
Holding vessel for necessary oil
ADR Series
2,3,4 gallon models available

## Slide 33
Oil Controls
OMB/C Series
Electronic control with alarm
Compressor lockout feature
Magnet for debris retention
Oil Level Controls
Maintains proper oil levels in the compressor crankcase
W-OLC Series
Mechanical oil control
Three models with sight glass options
Oil Filters & Driers
Designed to specifically clean the oil line.
AOF Series
AOF
  Hermetic, filter only
AOF -23S
  Take-apart shell
  Uses a F023 filter cartridge
AOFD 553 Series
Contrains soild core desiccant for moisture removal

## Slide 34: Thermostats
A trusted name offering reliable control and cutting-edge innovation

## Slide 35
Thermostats to Meet All Your Customer’s Needs
Model | 70 Series™ Thermostats | 80 Series™ Thermostats | Sensi™ Smart Thermostats
Number of Models | 6 | 8 | 4
Program Options | Programmable/Non-Programmable | Programmable/Non-Programmable | Programmable
Single Stage/Heat Pump/PTAC | Single Stage/Heat Pump/PTAC | Universal/Single Stage/Heat Pump | Universal/Multi-Stage
Wi-Fi Connectivity | - | - | 
Cost | $ | $$ | $$-$$$

## Slide 36
Turn Jobs Quicker with Easy Installation
Compatible with majority of residential HVAC systems
Built in bubble level (on some models)
Standard footprint eliminates the need for patching/painting
No C-Wire requires with Sensi Lite and Sensi Smart Thermostat
Traditional thermostats install in as little as 5 minutes
Smart thermostats in stall in as little as 30 minutes

## Slide 37
Top-Rated Thermostats Reduce Callbacks
Traditional Thermostats
  Simple user experience
  Large easy-to-read numbers
Smart Thermostats
  Top-rated online
  #1 rated mobile app in both Android and Apple Stores
4.5 stars, 6k reviews
4.6 stars, 66k reviews

## Slide 38
Stay Top of Mind with Free Contractor Branding
Printed Branding
Digital Branding
Free printing on all thermostats with orders of 12+ (excluding Sensi Lite & Touch 2)
Add full-color logo or custom text
Free shipping
With Sensi smart thermostats, add contractor’s information on the following locations:
  Thermostat home screen
  Mobile app
  Monthly usage report

## Slide 39
Meet Sensi
Thermostats
Model | Sensi Lite Smart Thermostat 1F76U-22WFB | Sensi Smart Thermostat 1F87U-42WF | Sensi Touch 2 Smart Thermostat 1F96U-42WFB (Black) 1F96U-42WF (White)
Screen Type/Size | LCD/2.25" | LCD/3.4" | Color Touchscreen/4.3"
System Type | 2H/1C or 1H/2C | 4H/2C | 4H/2C
C-Wire Not Required1 |  |  | 
Works with Sensi Room Sensors |  |  | 
Dedicated Accessory Terminals |  |  | 
Mobile App | iOS, Android | iOS, Android | iOS, Android
Smart Home Compatibility | Alexa, Google, SmartThings | Alexa, Homekit, Google, SmartThings | Alexa, Google, SmartThings
Wi-Fi Network Compatibility | 2.4GHz | 2.4GHz | 2.4GHz 5GHz
Contractor Branding | Digital | Digital + Printed | Digital
PRO Warranty | 5 years | 5 years | 5 years

## Slide 40
Save Energy with Smart Thermostats
1 Energy savings calculated by comparing operation time for a nationwide sample of Sensi users with temperature adjustments averaging 4° vs. users with no adjustments. Savings vary based on equipment type/condition, insulation, climate & temperature adjustment size/frequency.
All Sensi smart thermostats are ENERGY STAR® certified
Save about 23% on HVAC energy by adjusting the temperature, using flexible scheduling, remote access and geofencing1
First smart thermostat to win the ENERGY STAR Partner of the Year

## Slide 41
Sensi Multiple Thermostat Manager – A Lightweight Building Management System
Simple & Affordable
Easy setup process to manage comfort at a much
lower cost than traditional building management systems
Extensive Compatibility
Works with HVAC systems in most facilities
Easy-To-Use Portal
Access thermostat control from anywhere through the intuitive portal featuring drag-and-drop functionality
Smart Alerts
Enable optional notifications that let you know when and where extreme temperature or humidity changes are detected
Energy Saving Feature
Flexible batch scheduling can minimize energy waste and hep you save money

## Slide 42
Eliminating Consumer Data Privacy Concerns
Sensi’s privacy promised to our customers:
Sensi DOES NOT SELL your personal information
Sensi DOES NOT UTILIZE your thermostat activity data for other targeting/advertising purposes
Sensi DOES NOT MAKE CHANGES to your thermostat based on assuptions about your priorities

## Slide 43: Additional Support

## Slide 44
Additional Support to Help Drive Sales
 | NATE-Certified Product Training
 | Comprehensive Cross Reference
 | Product Information Management (PIM)
 | Printed Merchandise
 | Contractor Rewards
 | Technical Product Support

## Slide 45
Free NATE-Certified Training
NATE-certified courses for ongoing education credits
Online, webinar and in-person training options
Gain expertise on the latest products from Emerson
View installation, technical and product modules for Thermostats, Heating, AC, Heat Pump & Refrigeration
Benefits for all departments including sales, installation and service
Access Training Modules HERE

## Slide 46
Comprehensive Cross Reference & Product Information
Your resource for:
Complete cross reference
Product information and spec sheets
Installation information and videos
Wiring diagrams
Select product by features
Priority technical support
WR Mobile App
Search for “WR Mobile”
in both Apple and
Google Play Stores
Desktop Version
Access the online version HERE
Search by OEM, Competitor and White-Rodgers part numbers

## Slide 47
Quickly Set Up New Products Through Our Online Digital Catalog
Access the most up-to-date product information and digital assets through our PIM (product information system).
Includes all wholesale part numbers
Search by part number or filter by product category or family
Product information includes descriptions, spec, features, weights, UPC and more
View online, export digital assets or export data via spreadsheets
Access Digital Catalog HERE
Password: WR-Confidential

## Slide 48
Free Point-of-Sale Merchandise
Take advantage of our free printed marketing materials to help you drive sales.
Customizable fliers available for counter and training days
Laminated Counter
Reference Cards
Cross Reference Book
Posters
Shelf Talkers
Product Display Box
Wobblers
End Cap Displays

## Slide 49
Contractor Rewards – Build Loyalty With Your Customers
Easy. Rewarding. Free.
Contractors can sign up to participate in this free rewards program
Contractors upload invoices of participating programs for points
Contractors redeem points for products or gifts
Build contractor loyalty by bulk uploading purchases for contractors (speak to your sales rep about participating)
Learn more about Contractor Rewards and join now

## Slide 50
A Product Expert is Just A Click or Call Away
Our customer support team is ready to help answer any technical or support questions that you may have.
White-Rodgers
1-888-725-9797
wr.wholesale.mail@emerson.com
Sensi Smart Thermostat
1-888-605-7131
support@sensicomfort.com

## Slide 51: Your Sales Support Team
Dedicated to helping you grow your business

## Slide 52
Sales Support Team
Regional Sales Manager
775-513-2045
chuck.hernandez@copeland.com
Chuck Hernandez
Add Your
Photo
Here
Territory Sales Manager
707-685-2211
Tim.hall@copeland.com
Tim Hall

## Slide 53
Sales Support Team
Regional Sales Manager
443-239-7510
brian.cosens@copeland.com
Brian Cosens
Add Your
Photo
Here
Territory Sales Manager
XXX-XXX-XXXX
name@copeland.com
Name

## Slide 54
Sales Support Team
Regional Sales Manager
937-609-8635
joe.trimbach@copeland.com
Joe Trimbach
Add Your
Photo
Here
Territory Sales Manager
XXX-XXX-XXXX
name@copeland.com
Name

## Slide 55
Sales Support Team
Regional Sales Manager
830-730-2814
brad.popejoy@copeland.com
Brad Popejoy
Add Your
Photo
Here
Territory Sales Manager
XXX-XXX-XXXX
name@copeland.com
Name

## Slide 56: Thank You
Explore our full product catalog to see how we can help grow your business.